## Sheet1
Electricity Committed & Candidate Capacity Africa (AU) by technology
Infobox
Source:
African Continental Power System Master Plan - Deliverable 3: data & assumptions (p.215-253)
Global Energy Monitor Hydropower
Comments:
Committed Capacity
Country | Technology | GW | Year | Plant Name
Egypt | Nuclear | 1.2 | 2027 | Babaa
Egypt | Nuclear | 1.2 | 2028 | Babaa
Egypt | Nuclear | 1.2 | 2029 | Babaa
Egypt | Nuclear | 1.2 | 2030 | Babaa
Cote d’Ivoire | Coal | 0.35 | 2026 | Centrale à charbon (S-
Cote d’Ivoire | Coal | 0.35 | 2029 | Centrale à charbon (S- Energies)
Kenya | BESS | 0.1 | 2024 | BESS_1
Kenya | BESS | 0.1 | 2024 | BESS_2
Kenya | BESS | 0.05 | 2024 | BESS_3
Kenya | BESS | 0.05 | 2026 | BESS_4
Ethiopia | Biomass | 0.015 | 2024 | Omo Kuraz 1*
Ethiopia | Biomass | 0.015 | 2025 | Omo Kuraz 2
Ethiopia | Biomass | 0.01 | 2026 | Omo Kuraz 3
Ethiopia | Biomass | 0.01 | 2024 | Beles 2
Ethiopia | Biomass | 0.01 | 2025 | Beles 3
Ethiopia | Biomass | 0.075 | 2024 | Omo Kuraz 5 / Tandahi
Ethiopia | Biomass | 0.08 | 2025 | Omo Kuraz 5 / Tandahi
Kenya | Biomass | 0.01 | 2026 | Kwale Int Sugar Co Ltd
South Africa | Biomass | 0.017 | 2024 | REIPPPP3-Mkuze
Botswana | Coal | 0.3 | 2026 | Morupule 5 & 6
South Africa | Coal | 0.8 | 2024 | Kusile Unit 6
Ethiopia | Geothermal | 0.05 | 2025 | Corbitti Site
Ethiopia | Geothermal | 0.07 | 2026 | Aluto Langano 2
Ethiopia | Geothermal | 0.05 | 2025 | Tulu Moye Site
Kenya | Geothermal | 0.035 | 2024 | Menengai 1 Phase I - Stage 1 (Sosian)
Kenya | Geothermal | 0.035 | 2025 | Menengai 1 Phase I - Stage 1 (Quantum)
Kenya | Geothermal | 0.021 | 2025 | Olkaria 1 - Unit 1 Rehabilitation
Kenya | Geothermal | 0.021 | 2025 | Olkaria 1 - Unit 2 Rehabilitation
Kenya | Geothermal | 0.021 | 2025 | Olkaria 1 - Unit 3 Rehabilitation
Kenya | Geothermal | 0.02 | 2026 | Olkaria I Uprating (Topping)
Kenya | Geothermal | 0.02 | 2026 | Olkaria IV Uprating (Topping)
Algeria | Nat. Gas | 1.022 | 2024 | CCGT Plants
Algeria | Nat. Gas | 1.572 | 2025 | CCGT Plants
Algeria | Nat. Gas | 0.911 | 2026 | CCGT Plants
Algeria | Nat. Gas | 0.732 | 2027 | CCGT Plants
Morocco | Nat. Gas | 0.45 | 2025 | CCGT Tahadart 2
Tunisia | Nat. Gas | 0.45 | 2027 | Skhira I_Combined Cycle
Tunisia | Nat. Gas | 0.45 | 2027 | Skhira II_Combined Cycle
Rwanda | Nat. Gas | 0.014 | 2024 | Shema (IPP)
Uganda | Nat. Gas | 0.05 | 2024 | Albatros Thermal Power
Mozambique | Nat. Gas | 0.1 | 2024 | EDM - Sasol
Mozambique | Nat. Gas | 0.4 | 2025 | EDM - Sasol
Nigeria | Nat. Gas | 0.285 | 2025 | ALAOJI 2+ NIPP
Angola | Solar PV | 0.145 | 2025 | Solar Biópio Power Plant
Angola | Solar PV | 0.0795 | 2025 | Solar Baia Farta Power Plant
Angola | Solar PV | 0.0207 | 2025 | PV Luena
Angola | Solar PV | 0.0207 | 2025 | PV Saurimo
Gabon | Solar PV | 0.06 | 2024 | Ayeme Solar PV Plant Phase 2
Gabon | Solar PV | 0.05 | 2024 | Oyem Solar plant (AMEA Power)
Algeria | Solar PV | 1 | 2024 | Solar PV plants
Algeria | Solar PV | 1 | 2025 | Solar PV plants
Algeria | Solar PV | 1 | 2026 | Solar PV plants
Algeria | Solar PV | 1 | 2027 | Solar PV plants
Algeria | Solar PV | 1 | 2028 | Solar PV plants
Algeria | Solar PV | 1 | 2029 | Solar PV plants
Algeria | Solar PV | 1 | 2030 | Solar PV plants
Morocco | Solar PV | 0.2 | 2024 | PV Noor Atlas
Morocco | Solar PV | 0.4 | 2024 | PV Midelt
Morocco | Solar PV | 0.1 | 2024 | PV MT
Tunisia | Solar PV | 0.05 | 2025 | PV_STEG_1
Tunisia | Solar PV | 0.1 | 2026 | PV_STEG_2
Tunisia | Solar PV | 0.05 | 2028 | PV_STEG_3
Tunisia | Solar PV | 0.05 | 2029 | PV_STEG_4
Tunisia | Solar PV | 0.05 | 2030 | PV_STEG_5
Tunisia | Solar PV | 0.3 | 2024 | PV_IPP_3
Ethiopia | Solar PV | 0.3 | 2024 | Mekele
Ethiopia | Solar PV | 0.35 | 2024 | Metahare 1 / Dicheto / Gad
Ethiopia | Solar PV | 0.3 | 2025 | Metahare 2
Ethiopia | Solar PV | 0.45 | 2025 | Weranso/ Humera/ Metema/ Mekele
Kenya | Solar PV | 0.04 | 2024 | Alten Kenya Limited
Tanzania | Solar PV | 0.05 | 2027 | Shinyanga I (Kishapu)
Botswana | Solar PV | 0.05 | 2024 | Solar Plant (Shumba Energy) Phase 2
South Africa | Solar PV | 0.075 | 2024 | Braklaagte Solar Facility
South Africa | Solar PV | 0.075 | 2024 | Du Plessis Dam PV 1
South Africa | Solar PV | 0.075 | 2024 | Grootspruit Solar PV Project
South Africa | Solar PV | 0.075 | 2024 | Kentani Solar Facility
South Africa | Solar PV | 0.075 | 2024 | Klipfontein 2 Solar Facility
South Africa | Solar PV | 0.075 | 2024 | Klipfontein Solar Facility
South Africa | Solar PV | 0.075 | 2024 | Leliehoek Solar Facility
South Africa | Solar PV | 0.075 | 2024 | Sannaspos Solar PV Project
South Africa | Solar PV | 0.075 | 2024 | Sonoblomo Solar Facility
South Africa | Solar PV | 0.075 | 2024 | Grootfontein PV 1
South Africa | Solar PV | 0.075 | 2024 | Grootfontein PV 2
South Africa | Solar PV | 0.075 | 2024 | Grootfontein PV 3
South Africa | Solar PV | 0.075 | 2024 | Graspan Solar PV
Morocco | Wind | 0.2 | 2024 | KOUDIA BIDA EXT.
Morocco | Wind | 0.1 | 2024 | TISKRAD
Morocco | Wind | 0.08 | 2024 | Laâyoune
Morocco | Wind | 0.08 | 2024 | Guelmim
Morocco | Wind | 0.2 | 2024 | Eolien futur
Morocco | Wind | 0.2 | 2024 | Eolien futur
Tunisia | Wind | 0.08 | 2024 | Wind_STEG_1
Ethiopia | Wind | 0.15 | 2024 | Itaya
Kenya | Wind | 0.011 | 2025 | Ngong 1 - Phase III
Kenya | Wind | 0.05 | 2026 | Chania Green
South Africa | Wind | 0.14 | 2024 | Beaufort West Wind Farm
South Africa | Wind | 0.14 | 2024 | Brandvalley Wind Farm
South Africa | Wind | 0.14 | 2024 | Coleskop WEF
South Africa | Wind | 0.14 | 2024 | Dwarsrug Wind Facility
South Africa | Wind | 0.14 | 2024 | Phezukumoya WEF
South Africa | Wind | 0.14 | 2024 | Rietkloof Wind Farm
South Africa | Wind | 0.14 | 2024 | Rietrug Wind Facility
South Africa | Wind | 0.14 | 2024 | San Kraal WEF
South Africa | Wind | 0.14 | 2024 | Sutherland Wind Facility
South Africa | Wind | 0.14 | 2024 | Trakas Wind Facility
South Africa | Wind | 0.14 | 2024 | Waaihoek Wind Facility
South Africa | Wind | 0.08 | 2024 | Wolf Wind Farm
Candidate Capacity Investment
Country | Technology | GW | Year | Plant Name
Morocco | BESS | 0.09 | 2030 | BESS
Kenya | BESS | 0.1 | 2030 | BESS_5
Kenya | BESS | 0.25 | 2034 | BESS Generic 1
Kenya | BESS | 0.05 | 2036 | BESS Generic 2
Kenya | BESS | 0.15 | 2040 | BESS Generic 3
South Africa | BESS | 0.513 | 2022 | Storage
South Africa | BESS | 1.575 | 2029 | Storage
Rwanda | Biomass | 0.012 | 2029 | Biomass Plant
Rwanda | Biomass | 0.01 | 2023 | Biomass Plant
Kenya | Biomass | 0.008 | 2028 | Thika Way Investments (Homa Bay Biogas One)
Kenya | Biomass | 0.01 | 2030 | Roadtech Solutions Ltd
Kenya | Biomass | 0.0382 | 2030 | Municipal Waste to Energy
Kenya | Biomass | 0.02 | 2031 | Generation Limited (Biogas-Solar Hybrid)
Kenya | Biomass | 0.0024 | 2032 | Viability Africa (Northern Energy Limited)
Kenya | Biomass | 0.0084 | 2032 | Cummins Cogeneration Kenya Limited
Kenya | Biomass | 0.003 | 2033 | VR Holding AB-Local Trade Ltd
Kenya | Biomass | 0.006 | 2034 | West Kenya Sugar Company Limited
Kenya | Biomass | 0.0003 | 2035 | Biogas Holdings Ltd
Rwanda | Biomass | 0.012 | 2029 | Biomass Plant
Rwanda | Biomass | 0.01 | 2023 | Biomass Plant
Uganda | Biomass | 0.023 | 2023 | Mayuge Sugar plant
Uganda | Biomass | 0.02 | 2026 | Unergy Biomass power plant Masindi
Uganda | Biomass | 0.008 | 2026 | Pramukh steel Bagasse
Uganda | Biomass | 0.003 | 2026 | Kamuli Sugar Bagasse
Uganda | Biomass | 0.02 | 2026 | Pece Biomass
Uganda | Biomass | 0.0025 | 2027 | Jinja Waste to Energy Power Project
Uganda | Biomass | 0.009 | 2026 | Kyankwanzi Bagasse
Eswatini | Biomass | 0.02 | 2030 | RSSC Mhlume
Eswatini | Biomass | 0.02 | 2030 | Usuthu Sawmill
Benin | Biomass | 0.01 | 2030 | Projet Biomass
Benin | Biomass | 0.011 | 2030 | Negoce international
Uganda | Coal | 0.035 | 2028 | Kabale Peat
Botswana | Coal | 0.01 | 2025 | Coal-Bed Methane Plant
Eswatini | Coal | 0.03 | 2030 | Mpaka Coal
Malawi | Coal | 0.3 | 2022 | Kammawamba
Malawi | Coal | 0.12 | 2029 | Pamodsi
Malawi | Coal | 0.273 | 2030 | New Coal
Malawi | Coal | 0.273 | 2032 | New Coal
Malawi | Coal | 0.273 | 2034 | New Coal
Malawi | Coal | 0.273 | 2036 | New Coal
Malawi | Coal | 0.273 | 2037 | New Coal
Malawi | Coal | 0.273 | 2038 | New Coal
Malawi | Coal | 0.546 | 2039 | New Coal
Mozambique | Coal | 1.2 | 2024 | Tete
Mozambique | Coal | 0.15 | 2026 | Jindal
Mozambique | Coal | 0.3 | 2028 | Moatize
Mozambique | Coal | 0.3 | 2025 | Condezi
South Africa | Coal | 0.75 | 2023 | New Coal
South Africa | Coal | 0.75 | 2027 | New Coal
Zimbabwe | Coal | 0.23 | 2034 | South. Energy
Zimbabwe | Coal | 0.33 | 2036 | South. Energy
Ghana | Coal | 0.7 | 2030 | ATUABO
Niger | Coal | 0.4 | 2030 | Salkadamna Phase 2
Niger | Coal | 0.05 | 2030 | Sonichar
Senegal | Coal | 0.09 | 2030 | Mboro
Togo | Coal | 0.45 | 2030 | TBC
South Sudan | Fuel Oils | 0.6 | 2030 | Tharjath Power Plant
Malawi | Fuel Oils | 0.075 | 2022 | Engines Diesel
Malawi | Fuel Oils | 0.028 | 2022 | HFO Plant
Mozambique | Fuel Oils | 0.3 | 2026 | ENRC
Namibia | Fuel Oils | 0.12 | 2025 | Arandis
Benin | Fuel Oils | 1.2 | 2030 | Aleche
Guinea Bissau | Fuel Oils | 0.055 | 2030 | Thermal Power Plants
Mali | Fuel Oils | 0.1 | 2030 | Bamako (Serakolo)
Mali | Fuel Oils | 0.1 | 2030 | Bamako (Sanakroba)
Sierra Leone | Fuel Oils | 0.039 | 2030 | CEC Africa Phase 2
Sierra Leone | Fuel Oils | 0.039 | 2030 | CEC Africa Phase 3
Sierra Leone | Fuel Oils | 0.006 | 2030 | Bo
Sierra Leone | Fuel Oils | 0.002 | 2030 | Port loko
Sierra Leone | Fuel Oils | 0.002 | 2030 | Kambia
Sierra Leone | Fuel Oils | 0.002 | 2030 | Lunsar
Sierra Leone | Fuel Oils | 0.006 | 2030 | Makeni
Sierra Leone | Fuel Oils | 0.002 | 2030 | Kabala
Sierra Leone | Fuel Oils | 0.002 | 2030 | Magbururka
Sierra Leone | Fuel Oils | 0.002 | 2030 | Kailahun
Sierra Leone | Fuel Oils | 0.006 | 2030 | Kenema
Sierra Leone | Fuel Oils | 0.002 | 2030 | Pujehun
Sierra Leone | Fuel Oils | 0.002 | 2030 | Moyamba
Sierra Leone | Fuel Oils | 0.001 | 2030 | BontHe
Angola | Gas | 0.75 | 2029 | Namibe Thermal CCGT
Ethiopia | Geothermal | 0.1 | 2026 | Corbitti Site
Ethiopia | Geothermal | 0.1 | 2026 | Tulu Moye Site
Ethiopia | Geothermal | 0.25 | 2028 | Tulu Moye Site
Ethiopia | Geothermal | 0.1 | 2028 | Tulu Moye Site
Kenya | Geothermal | 0.025 | 2028 | Eburru 2
Kenya | Geothermal | 0.035 | 2028 | Menengai 1 Phase I - Stage 1 (Orpower22)
Kenya | Geothermal | 0.14 | 2029 | Olkaria 6
Kenya | Geothermal | 0.14 | 2029 | Olkaria 7
Kenya | Geothermal | 0.05 | 2031 | Wellhead leasing
Kenya | Geothermal | 0.14 | 2034 | Olkaria 8
Kenya | Geothermal | 0.06 | 2035 | Menengai I - Stage 2
Kenya | Geothermal | 0.14 | 2036 | Olkaria 9
Kenya | Geothermal | 0.1 | 2037 | Menengai III
Kenya | Geothermal | 0.1 | 2038 | Baringo Silali - Korosi I
Kenya | Geothermal | 0.1 | 2038 | Baringo Silali - Paka I
Kenya | Geothermal | 0.07 | 2038 | Marine Power Akiira Stage 1
Kenya | Geothermal | 0.1 | 2039 | Menengai IV
Kenya | Geothermal | 0.1 | 2039 | Menengai V
Kenya | Geothermal | 0.1 | 2039 | Suswa I
Kenya | Geothermal | 0.035 | 2039 | AGIL Longonot Stage 1
Kenya | Geothermal | 0.07 | 2040 | Olsuswa 70MW unit 1
Kenya | Geothermal | 0.1 | 2040 | Baringo Silali - Silali I
Uganda | Geothermal | 0.01 | 2027 | Panyimur Geothermal Power Plant Stage I
Uganda | Geothermal | 0.05 | 2030 | Panyimur Geothermal Power Plant Stage II
Burundi | Hydro | 0.049 | 2027 | Ruzizi III
Burundi | Hydro | 0.0066 | 2028 | Siguvyaye
Burundi | Hydro | 0.05 | 2028 | Ruvubu
Burundi | Hydro | 0.011 | 2028 | Mini Hydropower
Rwanda | Hydro | 0.01474 | 2021 | Number of mini Hydros (IPP)
Rwanda | Hydro | 0.0095 | 2022 | Number of mini Hydros (IPP)
Rwanda | Hydro | 0.00413 | 2024 | Number of mini Hydros (IPP)
Rwanda | Hydro | 0.009 | 2025 | Number of mini
Rwanda | Hydro | 0.00976 | 2024 | Rukarara 6 (IPP)
Rwanda | Hydro | 0.0435 | 2027 | Nyabarongo II
Mauritania | Hydro | 0.03 | 2025 | Hydro Power Plant
Morocco | Hydro | 0.02 | 2030 | Agdez
Morocco | Hydro | 0.3 | 2030 | STEP 1
Morocco | Hydro | 0.128 | 2030 | Imezdilfane– Taskdert–Tajemout
Morocco | Hydro | 0.3 | 2030 | STEP 2
Burundi | Hydro | 0.049 | 2027 | Ruzizi III
Burundi | Hydro | 0.0066 | 2028 | Siguvyaye
Burundi | Hydro | 0.05 | 2028 | Ruvubu
Burundi | Hydro | 0.011 | 2028 | Mini Hydropower
DRC | Hydro | 4.8 | 2030 | Inga III
DRC | Hydro | 39 | 2040 | Grand Inga
Ethiopia | Hydro | 0.246 | 2028 | Genale 6
Ethiopia | Hydro | 0.798 | 2028 | Dabus
Ethiopia | Hydro | 0.214 | 2028 | Geba I
Ethiopia | Hydro | 0.157 | 2028 | Geba II
Ethiopia | Hydro | 0.467 | 2028 | Birbir
Ethiopia | Hydro | 1.6 | 2030 | Karadobi
Ethiopia | Hydro | #VALUE! | 2035 | Baru I
Ethiopia | Hydro | #VALUE! | 2035 | Baru II
Ethiopia | Hydro | #VALUE! | 2035 | Beko Abo
Ethiopia | Hydro | 0.1 | 2035 | Genale 5
Ethiopia | Hydro | #VALUE! | 2035 | Genji
Ethiopia | Hydro | 0.396 | 2035 | Halele
Ethiopia | Hydro | #VALUE! | 2035 | Tams
Ethiopia | Hydro | #VALUE! | 2035 | Upper Mandaya
Ethiopia | Hydro | #VALUE! | 2035 | Wabi Shebele
Ethiopia | Hydro | #VALUE! | 2035 | Warabessa
Ethiopia | Hydro | #VALUE! | 2035 | Yeda 1,2
Kenya | Hydro | 0.0096 | 2027 | Power Technologies (Gatiki Small Hydro Plant)
Kenya | Hydro | 0.0015 | 2028 | Tindinyo Falls Resort
Kenya | Hydro | 0.0056 | 2029 | Frontier Investment Management/ Nithi Hydro
Kenya | Hydro | 0.0147 | 2030 | Global Sustainable- Kaptis
Kenya | Hydro | 0.0045 | 2030 | Global Sustainable Ltd- Buchangu
Kenya | Hydro | 0.0078 | 2030 | Mutunguru Hydroelectric Company Ltd
Kenya | Hydro | 0.0077 | 2030 | Ventus Energy Ltd
Kenya | Hydro | 0.09 | 2031 | Karura
Kenya | Hydro | 0.0095 | 2031 | Gem Gen Power Company Limited
Kenya | Hydro | 0.0015 | 2031 | Greenlight Holdings/ Rianjue/Gichuki Ventures
Kenya | Hydro | 0.007 | 2031 | Mwikhupo-Mwibale Hydro Power Kenya
Kenya | Hydro | 0.0045 | 2031 | Virunga Power Holdings Ltd, R. Sossio, Kaptama
Kenya | Hydro | 0.0035 | 2031 | Njega/Rukenya Hydro Power Limited (Rights
Kenya | Hydro | 0.495 | 2032 | High Grand Falls Stage 1
Kenya | Hydro | 0.0065 | 2032 | Kibisi Kinetic Energy Limited/Virunga Power
Kenya | Hydro | 0.007 | 2032 | Kirogori Electrification Project
Kenya | Hydro | 0.0025 | 2032 | KTDA R. Chemosit, Chemosit
Kenya | Hydro | 0.0052 | 2033 | Rareh Nyamindi Hydro Ltd
Kenya | Hydro | 0.0094 | 2033 | Rareh Nyamindi Hydro
Kenya | Hydro | 0.006 | 2033 | Rareh Nyamindi Hydro Ltd
Kenya | Hydro | 0.0091 | 2033 | VSHydro Kenya Ltd
Kenya | Hydro | 0.0027 | 2034 | Karuga Gitugi Electrification Project
Kenya | Hydro | 0.0033 | 2034 | KTDA Chemosit, Kiptiget
Kenya | Hydro | 0.0009 | 2034 | KTDA Ltd, Yurith, Chemosit
Kenya | Hydro | 0.0018 | 2034 | KTDA R. Rupingazi, Rutune
Kenya | Hydro | 0.0013 | 2034 | KTDA, R. Itare, Chemosit
Kenya | Hydro | 0.0028 | 2034 | KTDA, R. Yala, Taunet
Kenya | Hydro | 0.0042 | 2034 | Tridax Limited
Kenya | Hydro | 0.0053 | 2034 | Truck city ltd
Kenya | Hydro | 0.0078 | 2035 | Chevron Africa Limited
Kenya | Hydro | 0.001 | 2035 | Dominion Farms
Kenya | Hydro | 0.02 | 2035 | Khalala Hydro Power Kenya Limited (Coastal Energy Ltd, Navakholo)
Kenya | Hydro | 0.0096 | 2036 | Njumbi Hydropower Plant Ltd (Hydroneo)
Kenya | Hydro | 0.01 | 2036 | Western Hydro
Kenya | Hydro | 0.005 | 2036 | Hydel
Kenya | Hydro | 0.693 | 2037 | High Grand Falls Stage 1+2
Rwanda | Hydro | 0.01474 | 2021 | Number of mini Hydros (IPP)
Rwanda | Hydro | 0.0095 | 2022 | Number of mini Hydros (IPP)
Rwanda | Hydro | 0.00413 | 2024 | Number of mini Hydros (IPP)
Rwanda | Hydro | 0.009 | 2025 | Number of mini Hydros (IPP)
Rwanda | Hydro | 0.00976 | 2024 | Rukarara 6 (IPP)
Rwanda | Hydro | 0.0435 | 2027 | Nyabarongo II
Sudan | Hydro | 0.42 | 2024 | Shereik
Sudan | Hydro | 0.36 | 2025 | Kajbar
Sudan | Hydro | 0.312 | 2027 | Mograt
Sudan | Hydro | 0.312 | 2028 | Dagash
Sudan | Hydro | 0.648 | 2028 | Dal
Sudan | Hydro | 0.205 | 2030 | Sabaloka
South Sudan | Hydro | 1.08 | 2030 | Grand Fula
South Sudan | Hydro | 0.57 | 2030 | Bedden
South Sudan | Hydro | 0.42 | 2030 | Lakki
South Sudan | Hydro | 0.325 | 2030 | Skukoli
South Sudan | Hydro | 0.042 | 2030 | Fula Rapids
South Sudan | Hydro | 0.12 | 2030 | Juba Barage
Tanzania | Hydro | 0.087 | 2027 | Kakono
Tanzania | Hydro | 0.358 | 2026 | Ruhudji
Tanzania | Hydro | 0.222 | 2026 | Rumakali
Tanzania | Hydro | 0.3 | 2029 | Kikonge
Uganda | Hydro | 0.84 | 2032 | Ayago
Uganda | Hydro | 0.4 | 2040 | Uhuru
Uganda | Hydro | 0.00325 | 2026 | Atari
Uganda | Hydro | 0.0045 | 2030 | Nyamwamba III
Uganda | Hydro | 0.0033 | 2024 | Hoimo
Uganda | Hydro | 0.135 | 2024 | Achwa-Aber Multipurpose HPP
Uganda | Hydro | 0.0178 | 2029 | Lower Achwa HPP
Uganda | Hydro | 0.0032 | 2025 | Nyabuhuka
Uganda | Hydro | 0.007 | 2026 | Sironko
Uganda | Hydro | 0.009 | 2030 | Bukuwa
Uganda | Hydro | 0.0003 | 2024 | Igassa HPP
Uganda | Hydro | 0.0063 | 2028 | Keere
Uganda | Hydro | 0.002 | 2028 | Ngoromyo
Uganda | Hydro | 0.007 | 2026 | Nyamabuye
Uganda | Hydro | 0.0004 | 2024 | Kabasanja
Uganda | Hydro | 0.0003 | 2026 | Tokwe
Uganda | Hydro | 0.00118 | 2027 | Maziba
Uganda | Hydro | 0.0075 | 2030 | Nengo Bridge
Uganda | Hydro | 0.0138 | 2030 | Ngenge
Uganda | Hydro | 0.0067 | 2030 | Lwakhakha
Uganda | Hydro | 0.0035 | 2023 | Nyagak 1
Uganda | Hydro | 0.0007 | 2024 | Nsongya
Uganda | Hydro | 0.0003 | 2024 | Katooke
Uganda | Hydro | 0.007 | 2026 | Sisi
Uganda | Hydro | 0.0095 | 2026 | Simu
Uganda | Hydro | 0.0042 | 2030 | Rushaya
Uganda | Hydro | 0.0016 | 2030 | Kanyabara
Uganda | Hydro | 0.0042 | 2030 | Latoro
Uganda | Hydro | 0.0005 | 2024 | Nchwera
Uganda | Hydro | 0.0011 | 2028 | Haisesoro
Uganda | Hydro | 0.0004 | 2028 | Rwembya
Uganda | Hydro | 0.005 | 2029 | Okollo
Uganda | Hydro | 0.018 | 2029 | Awere HPP
Uganda | Hydro | 0.0005 | 2024 | Warugo
Uganda | Hydro | 0.0052 | 2028 | Nyakinengo SHPP
Uganda | Hydro | 0.0042 | 2029 | Esha
Uganda | Hydro | 0.0018 | 2028 | Rubabo
Uganda | Hydro | 0.0025 | 2025 | Kisinga HPP
Uganda | Hydro | 0.007 | 2027 | Buwangani HPP
Uganda | Hydro | 0.0136 | 2027 | Mitano HPP
Uganda | Hydro | 0.048 | 2025 | Muzizi HPP
Uganda | Hydro | 0.001 | 2028 | Birara
Uganda | Hydro | 0.007 | 2028 | Nshongi HPP
Uganda | Hydro | 0.0042 | 2027 | Kigwabya
Uganda | Hydro | 0.0035 | 2026 | Mukoki
Uganda | Hydro | 5e-05 | 2026 | Bukurungo
Uganda | Hydro | 0.002 | 2025 | Atari 2
Uganda | Hydro | 0.33 | 2028 | Kiba
Uganda | Hydro | 0.035 | 2032 | Nshongezi HPP Project
Uganda | Hydro | 0.392 | 2030 | Oriang HPP
Angola | Hydro | 0.2 | 2025 | Vuka Hydropower
Angola | Hydro | 0.3 | 2029 | Baynes (Shared with Namibia)
Angola | Hydro | 0.21 | 2030 | Quilengues Hydropower
Angola | Hydro | 0.57 | 2031 | Zenzo Hydropower
DRC | Hydro | 4.8 | 2030 | Inga III
DRC | Hydro | 39 | 2040 | Grand Inga
Eswatini | Hydro | 0.08 | 2030 | Ngwempisi
Lesotho | Hydro | 0.08 | 2024 | Oxbow
Lesotho | Hydro | 0.11 | 2034 | Muela 2
Malawi | Hydro | 0.309 | 2023 | Mpatamanga
Malawi | Hydro | 0.112 | 2024 | Kapichira III
Malawi | Hydro | 0.096 | 2026 | Hamilton Falls
Malawi | Hydro | 0.261 | 2027 | Fufu
Malawi | Hydro | 0.041 | 2028 | Chasombo
Malawi | Hydro | 0.219 | 2033 | Kholombizo
Malawi | Hydro | 0.04 | 2038 | Chizuma
Malawi | Hydro | 0.09 | 2039 | Songwe
Mozambique | Hydro | 1.5 | 2026 | Mphanda Nkhuwa (in Tete)
Mozambique | Hydro | 1.245 | 2028 | Cahora Bassa North Bank (in Tete)
Mozambique | Hydro | 0.6 | 2026 | Lupata (in Sofala)
Mozambique | Hydro | 0.2 | 2026 | Boroma (in Tete)
Mozambique | Hydro | 0.12 | 2026 | Lurio (in Cabo Delgado)
Mozambique | Hydro | 0.05 | 2025 | TSA
Namibia | Hydro | 0.3 | 2029 | Baynes (Shared with Angola)
South Africa | Hydro | 2.5 | 2030 | Hydro Generic
Tanzania | Hydro | 0.087 | 2027 | Kakono
Tanzania | Hydro | 0.358 | 2026 | Ruhudji
Tanzania | Hydro | 0.222 | 2026 | Rumakali
Tanzania | Hydro | 0.3 | 2029 | Kikonge
Zambia | Hydro | 0.086 | 2025 | Lusiwasi Lower
Zambia | Hydro | 0.6 | 2026 | Devil's Gorge N
Zambia | Hydro | 1.2 | 2029 | Batoka Gorge North
Zambia | Hydro | 0.034 | 2039 | Kabompo Gorge
Zambia | Hydro | 0.03 | 2035 | Luchenene
Zambia | Hydro | 0.065 | 2039 | Mkushi
Zambia | Hydro | 0.04 | 2039 | Mutinondo
Zambia | Hydro | 0.271 | 2025 | Luapula- Mumbotuta CX
Zambia | Hydro | 0.21 | 2035 | Luapula- Mambilima Vb
Zambia | Hydro | 0.308 | 2025 | Luapula- Mambilima Y
Zambia | Hydro | 0.151 | 2030 | Kundabwika
Zambia | Hydro | 0.096 | 2035 | Kabweulume
Zambia | Hydro | 0.0048 | 2026 | Namundela
Zambia | Hydro | 0.0188 | 2026 | Mumburuma Re- engineered
Zambia | Hydro | 0.004 | 2035 | Kalepela
Zambia | Hydro | 0.012 | 2035 | Kapamba
Zambia | Hydro | 0.008 | 2026 | Kakonko
Zambia | Hydro | 0.007 | 2026 | Mujila
Zambia | Hydro | 0.04476 | 2035 | West Lunga II
Zambia | Hydro | 0.00484 | 2026 | Mwasha
Zambia | Hydro | 0.0122 | 2035 | Mbulumotuta
Zambia | Hydro | 0.00386 | 2026 | Mululwe (Mwanyonga Falls)
Zambia | Hydro | 0.326 | 2025 | Lufubu Hydropower Cascade
Zambia | Hydro | 0.18 | 2025 | Ngonye Falls Hydropower Project
Zambia | Hydro | 0.03 | 2025 | Chavuma Hydro
Zambia | Hydro | 0.0074 | 2026 | Mabula Kapi (Kaombe)
Zambia | Hydro | 0.167 | 2026 | Mulembo / Lelya
Zambia | Hydro | 0.263 | 2030 | Muchinga Hydro Power Project
Zimbabwe | Hydro | 0.6 | 2026 | Devil’s Gorge South
Zimbabwe | Hydro | 1.2 | 2027 | Batoka Gorge South
Benin | Hydro | 0.112 | 2030 | Ketou
Benin | Hydro | 0.0232 | 2030 | Beterou
Benin | Hydro | 0.0182 | 2030 | Beterou
Benin | Hydro | 0.0424 | 2030 | Bethel
Benin | Hydro | 0.0792 | 2030 | Vossa
Benin | Hydro | 0.03 | 2030 | Olougbé
Benin | Hydro | 0.128 | 2030 | Dogo Bis
Benin | Hydro | 0.026 | 2030 | Dyodyonga
Burkina Faso | Hydro | 0.0051 | 2030 | Bontioli
Burkina Faso | Hydro | 0.0108 | 2030 | Folonzo
Burkina Faso | Hydro | 0.005 | 2030 | Gongourou
Burkina Faso | Hydro | 0.014 | 2030 | Aval
Burkina Faso | Hydro | 0.012 | 2030 | Bougouriba
Burkina Faso | Hydro | #VALUE! | 2030 | Noumbiel
Burkina Faso | Hydro | 0.014 | 2030 | Bagré II
Burkina Faso | Hydro | 0.021 | 2030 | Ouéssa
Cote d’Ivoire | Hydro | 0.246 | 2030 | Louga
Cote d’Ivoire | Hydro | 0.15 | 2030 | Boutoubré
Cote d’Ivoire | Hydro | 0.09 | 2030 | AboissoComoé
Cote d’Ivoire | Hydro | 0.08 | 2030 | Tayaboui Yes
Cote d’Ivoire | Hydro | 0.051 | 2030 | Tiassalé
Cote d’Ivoire | Hydro | 0.055 | 2030 | Daboitié
Ghana | Hydro | 0.087 | 2030 | Juale
Ghana | Hydro | 0.048 | 2030 | Pwalugu
Ghana | Hydro | 0.093 | 2030 | Hermang
Ghana | Hydro | 0.036 | 2030 | Kulpawn
Ghana | Hydro | 0.043 | 2030 | Daboya
Ghana | Hydro | 0.06 | 2030 | Noumbiel (shared with Burkina Faso)
Guinea | Hydro | 0.048 | 2030 | Gozoguézia
Guinea | Hydro | 0.16 | 2030 | Bouréya
Guinea | Hydro | 0.0028 | 2030 | Daboya (recherche de Finance)
Guinea | Hydro | 0.1 | 2030 | Morissananko
Guinea | Hydro | 0.027 | 2030 | N’Zebela(recherche de Finance)
Guinea | Hydro | 0.149 | 2030 | Diaoya
Guinea | Hydro | 0.09 | 2030 | Poudaldé
Guinea | Hydro | 0.13 | 2030 | Samankou (rehab)
Guinea | Hydro | 0.093 | 2030 | Digan (OMVG) part Guinea 40%
Guinea | Hydro | 0.082 | 2030 | FelloSounga (OMVG) part Guinea 40%
Guinea | Hydro | 0.181 | 2030 | Balassa
Guinea | Hydro | 0.0764 | 2030 | Tene I
Guinea | Hydro | 0.072 | 2030 | Diaraguela
Guinea | Hydro | 0.174 | 2030 | Bonkon-Diaria
Guinea | Hydro | 0.124 | 2030 | Fetore
Guinea | Hydro | 0.29 | 2030 | Grand Kinkon
Guinea | Hydro | 0.135 | 2030 | Kaba
Guinea | Hydro | 0.135 | 2030 | Kouravel
Guinea | Hydro | 0.098 | 2030 | Lafou
Guinea | Hydro | 0.1 | 2030 | Morisakano
Guinea | Hydro | 0.048 | 2030 | Nzébéla
Guinea | Hydro | 0.09 | 2030 | Poudaldé
Guinea | Hydro | 0.12 | 2030 | Tiopo
Guinea Bissau | Hydro | 0.02 | 2030 | Saltinho OMVG hydro project
Liberia | Hydro | 0.041 | 2030 | Cestos
Liberia | Hydro | 0.067 | 2030 | Saint-John
Liberia | Hydro | 0.029 | 2030 | Loffa
Liberia | Hydro | 0.088 | 2030 | Mount Coffee Reservoir
Liberia | Hydro | 0.078 | 2030 | Saint-Paul 1B
Liberia | Hydro | 0.12 | 2030 | Saint-Paul 2
Liberia | Hydro | 0.132 | 2030 | Saint-Paul V1
Liberia | Hydro | 0.066 | 2030 | Mount Coffee (+V1)
Liberia | Hydro | 0.065 | 2030 | Saint-Paul 1B (+V1)
Liberia | Hydro | 0.1 | 2030 | Saint-Paul 2(+V1)
Liberia | Hydro | 0.18 | 2030 | Mano (shared with Sierra Leone)
Mali | Hydro | 0.14 | 2030 | Gouina
Mali | Hydro | 0.021 | 2030 | Gourbassi
Mali | Hydro | 0.07 | 2030 | Badoumbé
Mali | Hydro | 0.0495 | 2030 | Bindougou
Mali | Hydro | 0.03 | 2030 | Moussala
Mali | Hydro | 0.042 | 2030 | Kénié
Mali | Hydro | 0.025 | 2030 | Taoussa
Mali | Hydro | 0.01 | 2030 | Markala
Niger | Hydro | 0.105 | 2030 | Gambou
Niger | Hydro | 0.026 | 2030 | Dyondyong
Nigeria | Hydro | 0.03 | 2030 | Mabon
Sierra Leone | Hydro | 0.095 | 2030 | Bumbuna IV&V
Sierra Leone | Hydro | 0.006 | 2030 | Goma II
Sierra Leone | Hydro | 0.0348 | 2030 | Benkongor I
Sierra Leone | Hydro | 0.08 | 2030 | Benkongor II
Sierra Leone | Hydro | 0.0855 | 2030 | Benkongor III
Togo | Hydro | 0.06 | 2030 | Tététou
Togo | Hydro | 0.0238 | 2030 | Titira
Togo | Hydro | 0.0159 | 2030 | Kpessi
Togo | Hydro | 0.0084 | 2030 | Wawa
Togo | Hydro | 0.0058 | 2030 | Baghan
Togo | Hydro | 0.0171 | 2030 | Kolo-Kopé
Togo | Hydro | 0.0036 | 2030 | Seregbene
Angola | Hydro - Dam | 0.2 | 2025 | Vuka Hydropower
Angola | Hydro - Dam | 0.3 | 2028 | Baynes (Shared with Namibia)
Angola | Hydro - Dam | 0.21 | 2030 | Quilengues Hydropower
Angola | Hydro - Dam | 0.57 | 2031 | Zenzo Hydropower
CAR | Hydro - Dam | 0.2 | 2030 | Dimoli
CAR | Hydro - Dam | 0.03 | 2030 | Palambo
Congo | Hydro - Dam | 1 | 2030 | Souda
Congo | Hydro - Dam | 0.6 | 2030 | Chollet
DRC | Hydro - Dam | 4.8 | 2030 | Inga III
DRC | Hydro - Dam | 39 | 2040 | Grand Inga
Gabon | Hydro - Dam | 0.38 | 2030 | Booué
Gabon | Hydro - Dam | 0.32 | 2030 | Tsengué - Lélédi
CAR | Hydro - ROR | 0.01 | 2030 | Centrale hydro de Boali 3
CAR | Hydro - ROR | 0.06 | 2030 | Lobaye
CAR | Hydro - ROR | 0.06 | 2030 | Kotto
CAR | Hydro - ROR | 0.02 | 2030 | Lancreno
CAR | Hydro - ROR | 0.072 | 2030 | Bac & Lotemo
Algeria | Nat. Gas | 0.75 | 2030 | GT Plants
Algeria | Nat. Gas | 0.75 | 2030 | CCGT Plants
Libya | Nat. Gas | 0.7 | 2023 | Derna 2 (ST)
Libya | Nat. Gas | 0.855 | 2023 | Tripoli South 2 (GT)
Libya | Nat. Gas | 1 | 2023 | Benghzi West (CC)
Libya | Nat. Gas | 0.7 | 2023 | Tripoli East (ST)
Libya | Nat. Gas | 0.7 | 2024 | Tripoli East (ST)
Libya | Nat. Gas | 0.242 | 2024 | Zweitina 2 CC (GT)
Libya | Nat. Gas | 0.5 | 2024 | Misurata CC (GT)
Libya | Nat. Gas | 0.25 | 2025 | Misurata CC (GT)
Libya | Nat. Gas | 0.7 | 2025 | Tobruk 2 (ST)
Libya | Nat. Gas | 0.55 | 2028 | Abukamash CC
Libya | Nat. Gas | 0.825 | 2029 | Tobruk CC (GT)
Libya | Nat. Gas | 0.275 | 2029 | Abukamash CC
Tunisia | Nat. Gas | 0.45 | 2029 | New_Combined Cycle
Egypt | Nat. Gas | 0.75 | 2030 | New Conventional
Egypt | Nat. Gas | 1.5 | 2030 | New Conventional
Egypt | Nat. Gas | 3.64 | 2030 | New Conventional
Egypt | Nat. Gas | 1 | 2030 | New Conventional
Egypt | Nat. Gas | 1 | 2030 | New Conventional
Ethiopia | Nat. Gas | 0.84 | 2028 | TPP
Ethiopia | Nat. Gas | 0.7 | 2029 | TPP
Kenya | Nat. Gas | 0.2 | 2027 | LNG Gas Turbine - Unit 2
Kenya | Nat. Gas | 0.14 | 2030 | Back-up capacity LNG 140 MW - Unit 4
Kenya | Nat. Gas | 0.08 | 2031 | Back-up capacity LNG 80 MW - Unit 3
Kenya | Nat. Gas | 0.14 | 2031 | Back-up capacity LNG140 MW - Unit 5
Kenya | Nat. Gas | 0.08 | 2034 | Back-up capacity LNG 80 MW - Unit 2
Kenya | Nat. Gas | 0.14 | 2034 | Back-up capacity LNG 140 MW - Unit 6
Kenya | Nat. Gas | 0.28 | 2035 | Back-up capacity LNG 280 MW - Unit 2
Kenya | Nat. Gas | 0.28 | 2036 | Back-up capacity 280 MW - Unit 3
Kenya | Nat. Gas | 0.375 | 2040 | Dongo Kundu CCGT - small 1
Libya | Nat. Gas | 0.7 | 2023 | Derna 2 (ST)
Libya | Nat. Gas | 0.855 | 2023 | Tripoli South 2 (GT)
Libya | Nat. Gas | 1 | 2023 | Benghzi West (CC)
Libya | Nat. Gas | 0.7 | 2023 | Tripoli East (ST)
Libya | Nat. Gas | 0.7 | 2024 | Tripoli East (ST)
Libya | Nat. Gas | 0.242 | 2024 | Zweitina 2 CC (GT)
Libya | Nat. Gas | 0.5 | 2024 | Misurata CC (GT)
Libya | Nat. Gas | 0.25 | 2025 | Misurata CC (GT)
Libya | Nat. Gas | 0.7 | 2025 | Tobruk 2 (ST)
Libya | Nat. Gas | 0.55 | 2028 | Abukamash CC
Libya | Nat. Gas | 0.825 | 2029 | Tobruk CC (GT)
Libya | Nat. Gas | 0.275 | 2029 | Abukamash CC
Tanzania | Nat. Gas | 0.3 | 2025 | Mtwara
Tanzania | Nat. Gas | 0.6 | 2029 | Somanga Fungu
Tanzania | Nat. Gas | 0.6 | 2029 | Kinyerezi III
Uganda | Nat. Gas | 0.0077 | 2024 | Gas to Power
Angola | Nat. Gas | 0.75 | 2029 | Namibe Thermal CCGT
Mozambique | Nat. Gas | 0.08 | 2027 | Palma Shell
Mozambique | Nat. Gas | 0.075 | 2028 | Palma ENI
South Africa | Nat. Gas | 1 | 2026 | Gas Project
South Africa | Nat. Gas | 2 | 2027 | Gas Project
Tanzania | Nat. Gas | 0.3 | 2025 | Mtwara
Tanzania | Nat. Gas | 0.6 | 2029 | Somanga Fungu
Tanzania | Nat. Gas | 0.6 | 2029 | Kinyerezi III
Zimbabwe | Nat. Gas | 0.9 | 2025 | Gokwe North
Zimbabwe | Nat. Gas | 0.3 | 2025 | Gokwe North
Benin | Nat. Gas | 0.24 | 2030 | MariaGleta
Benin | Nat. Gas | 0.45 | 2030 | MariaGleta (WAPP)
Benin | Nat. Gas | 0.145 | 2030 | Central Thermique IPP
Benin | Nat. Gas | 0.02 | 2030 | Genesis
Cote d’Ivoire | Nat. Gas | 0.123 | 2030 | Songon - 1ere tranche TAG
Cote d’Ivoire | Nat. Gas | 0.123 | 2030 | Songon - 2ème tranche TAG
Cote d’Ivoire | Nat. Gas | 0.123 | 2030 | Songon - 3ème tranche TAV
Ghana | Nat. Gas | 0.1 | 2030 | MARINOS
Ghana | Nat. Gas | 0.11 | 2030 | CENIT ENERGY &
Senegal | Nat. Gas | 0.115 | 2030 | Kayar (Konoune)
Botswana | Solar CSP | 0.1 | 2027 | Maun Solar CSP
Botswana | Solar CSP | 0.1 | 2027 | Letlhakane CSP
Niger | Solar CSP | 0.1 | 2030 | Agadez
Angola | Solar PV | 0.025 | 2024 | PV Quilemba
Angola | Solar PV | 0.05 | 2026 | PV Caraculo
Chad | Solar PV | 0.032 | 2023 | Djermaya Solar Power Station (DSPS) Phase 1
Chad | Solar PV | 0.028 | 2025 | Djermaya Solar Power Station (DSPS) Phase II
Chad | Solar PV | 0.03 | 2025 | Solar Plant (NSTT)
Chad | Solar PV | 0.005 | 2027 | Am Timan Solat Plant 2
DRC | Solar PV | 0.6 | 2024 | Solar Plants
Algeria | Solar PV | 1.6 | 2031 | Solar PV plants
Algeria | Solar PV | 1.6 | 2032 | Solar PV plants
Algeria | Solar PV | 1.6 | 2033 | Solar PV plants
Algeria | Solar PV | 1.6 | 2034 | Solar PV plants
Algeria | Solar PV | 1.6 | 2035 | Solar PV plants
Mauritania | Solar PV | 0.07 | 2025 | Solar PV plant
Morocco | Solar PV | 0.2 | 2030 | PV MT
Morocco | Solar PV | 0.2 | 2030 | PV MT
Morocco | Solar PV | 0.661 | 2030 | PV MT
Morocco | Solar PV | 0.2 | 2030 | PV MT
Morocco | Solar PV | 1 | 2030 | PV MT
Morocco | Solar PV | 0.172 | 2030 | PV MT
Tunisia | Solar PV | 0.045 | 2022 | PV_NEW_1
Tunisia | Solar PV | 0.045 | 2023 | PV_NEW_2
Tunisia | Solar PV | 0.045 | 2024 | PV_NEW_3
Tunisia | Solar PV | 0.045 | 2025 | PV_NEW_4
Tunisia | Solar PV | 0.245 | 2026 | PV_NEW_5
Tunisia | Solar PV | 0.245 | 2028 | PV_NEW_6
Tunisia | Solar PV | 0.2 | 2029 | PV_NEW_7
Tunisia | Solar PV | 0.245 | 2030 | PV_NEW_8
DRC | Solar PV | 0.6 | 2024 | Solar Plants
Egypt | Solar PV | 0.55 | 2030 | New Renewables
Egypt | Solar PV | 0.02 | 2030 | New Renewables
Egypt | Solar PV | 1 | 2030 | New Renewables
Egypt | Solar PV | 1 | 2030 | New Renewables
Ethiopia | Solar PV | 0.25 | 2029 | Gad 2
Kenya | Solar PV | 0.04 | 2027 | Kenergy Renewables Ltd-Rumuruti
Kenya | Solar PV | 0.01 | 2027 | Hannan Arya Energy (K) Ltd
Kenya | Solar PV | 0.0425 | 2027 | Seven Forks Solar Power Plant
Kenya | Solar PV | 0.04 | 2028 | Kopere Solar Park Limited
Kenya | Solar PV | 0.03 | 2029 | Makindu solar ltd
Kenya | Solar PV | 0.04 | 2030 | Greenmillenia Energy Limited
Kenya | Solar PV | 0.04 | 2032 | Solar PV
Kenya | Solar PV | 0.04 | 2034 | Solar PV
Kenya | Solar PV | 0.04 | 2036 | Solar PV
Kenya | Solar PV | 0.12 | 2038 | Solar PV
Kenya | Solar PV | 0.04 | 2039 | Solar PV
Kenya | Solar PV | 0.04 | 2040 | Solar PV
Kenya | Solar PV | 0.08 | 2030 | Solar PV
Sudan | Solar PV | 0.04 | 2021 | Small Solar units
Sudan | Solar PV | 0.15 | 2022 | Port Sudan Solar
Sudan | Solar PV | 0.05 | 2023 | Adila Solar
Sudan | Solar PV | 0.1 | 2024 | El Obeid Solar
Sudan | Solar PV | 0.1 | 2025 | El Obeid Solar
Sudan | Solar PV | 0.2 | 2025 | West Omdurman PV
Sudan | Solar PV | 0.05 | 2027 | Madani Solar
Sudan | Solar PV | 0.2 | 2028 | Atbara Solar
South Sudan | Solar PV | 0.01 | 2030 | GigaGlobal
South Sudan | Solar PV | 0.05 | 2030 | Malakal
South Sudan | Solar PV | 0.01 | 2030 | Rumbek
South Sudan | Solar PV | 0.02 | 2030 | Awiel power plant
South Sudan | Solar PV | 0.02 | 2030 | Kuajok Power Plant
South Sudan | Solar PV | 0.01 | 2030 | Pibor Power Plant
South Sudan | Solar PV | 0.02 | 2030 | Abyei Power Plant
South Sudan | Solar PV | 0.02 | 2030 | Bor Power Plant
South Sudan | Solar PV | 0.01 | 2030 | Torit Power Plant
South Sudan | Solar PV | 0.01 | 2030 | Yambio Power Plant
Uganda | Solar PV | 0.01 | 2024 | Ulepi solar
Uganda | Solar PV | 0.01 | 2023 | Ituka westnile Solar PV plant
Uganda | Solar PV | 0.01 | 2022 | Ituka westnile Solar PV plant in Arua district
Uganda | Solar PV | 0.08 | 2029 | Kabale Energy Ltd
Uganda | Solar PV | 0.013 | 2027 | Sun Farming food and energy
Angola | Solar PV | 0.025 | 2024 | PV Quilemba
Angola | Solar PV | 0.05 | 2026 | PV Caraculo
DRC | Solar PV | 0.6 | 2024 | Solar Plants
Eswatini | Solar PV | 0.04 | 2030 | Solar PV -Tracking Plant
Eswatini | Solar PV | 0.04 | 2030 | Solar PV Fixed Tilt
Namibia | Solar PV | 0.081 | 2024 | Solar PV Power Park (Globeleq)
South Africa | Solar PV | 1 | 2025 | BW 6 Solar PV Projects
South Africa | Solar PV | 1 | 2028 | Solar PV projects
South Africa | Solar PV | 1 | 2029 | Solar PV projects
South Africa | Solar PV | 1 | 2030 | Solar PV projects
Zambia | Solar PV | 0.02 | 2025 | Bulemu 1
Zambia | Solar PV | 0.02 | 2025 | Bulemu 2
Zambia | Solar PV | 0.02 | 2025 | Aurora 1
Zambia | Solar PV | 0.02 | 2025 | Aurora 2
Zambia | Solar PV | 0.02 | 2025 | Ganeton North Solar
Zambia | Solar PV | 0.02 | 2025 | Ganeton South Solar
Zambia | Solar PV | 0.1 | 2025 | Kanona
Zambia | Solar PV | 0.075 | 2023 | Muzuma
Zambia | Solar PV | 0.194 | 2025 | Chambishi Solar
Zambia | Solar PV | 0.053 | 2023 | Ndeke
Zambia | Solar PV | 0.1 | 2025 | Chipata West
Zambia | Solar PV | 0.2 | 2025 | Kafue Gorge Lower Solar PV
Zambia | Solar PV | 0.2 | 2025 | Kabwe Solar PV
Zambia | Solar PV | 0.2 | 2025 | Kariba Solar PV
Benin | Solar PV | 0.005 | 2030 | SOBES
Benin | Solar PV | 0.01 | 2030 | GREENHEART Power
Benin | Solar PV | 0.1 | 2030 | Central solar PV IPP
Burkina Faso | Solar PV | 0.02 | 2030 | Koudougou
Burkina Faso | Solar PV | 0.05 | 2030 | AFD
Burkina Faso | Solar PV | 0.1 | 2030 | Foot PIE 2
Burkina Faso | Solar PV | 0.15 | 2030 | Solar Power Park I (WAPP)
Cote d’Ivoire | Solar PV | 0.025 | 2030 | Centrale solaire FERKE
Cote d’Ivoire | Solar PV | 0.03 | 2030 | Centrale solaire DAOUKRO (SERES)
Ghana | Solar PV | 0.2 | 2030 | BUI PHASE 2
Ghana | Solar PV | 0.04 | 2030 | BONGO SOLAR
Guinea | Solar PV | 0.1 | 2030 | Morisananko
Guinea | Solar PV | 0.012 | 2030 | Pecos
Guinea Bissau | Solar PV | 0.059 | 2030 | Solar PV Plants
Mali | Solar PV | 0.065 | 2030 | Kati
Mali | Solar PV | 0.05 | 2030 | Fana
Mali | Solar PV | 0.04 | 2030 | Tenkele
Mali | Solar PV | 0.04 | 2030 | Bia
Mali | Solar PV | 0.05 | 2030 | Kurikolo
Mali | Solar PV | 0.033 | 2030 | Segou
Mali | Solar PV | 0.05 | 2030 | Sikasso
Mali | Solar PV | 0.025 | 2030 | Koutiala
Mali | Solar PV | 0.04 | 2030 | Medium
Mali | Solar PV | 0.15 | 2030 | WAPP Regional Project
Niger | Solar PV | 0.01 | 2030 | Lossa
Niger | Solar PV | 0.03 | 2030 | NCE (Maradi)
Niger | Solar PV | 0.06 | 2030 | Zinder
Niger | Solar PV | 0.01 | 2030 | Dosso
Niger | Solar PV | 0.03 | 2030 | Niamey
Niger | Solar PV | 0.03 | 2030 | Gorou Banda
Niger | Solar PV | 0.03 | 2030 | NCE
Nigeria | Solar PV | 0.1 | 2030 | Nova solar
Nigeria | Solar PV | 0.08 | 2030 | Nova scotia power
Nigeria | Solar PV | 0.075 | 2030 | Pan africa solar
Nigeria | Solar PV | 0.1 | 2030 | Lr aaron solar power plant
Nigeria | Solar PV | 0.05 | 2030 | Quaint energy solutions
Nigeria | Solar PV | 0.1 | 2030 | Nigeria solar capital partners
Nigeria | Solar PV | 0.1 | 2030 | Motir dusable
Nigeria | Solar PV | 0.1 | 2030 | Middle band solar
Nigeria | Solar PV | 0.05 | 2030 | Afrinergia solar
Nigeria | Solar PV | 0.055 | 2030 | KVK power Nigeria LTD
Nigeria | Solar PV | 0.1 | 2030 | Anheed kafachan solar IPP
Nigeria | Solar PV | 0.07 | 2030 | CT Cosmos
Nigeria | Solar PV | 0.05 | 2030 | Oriental
Nigeria | Solar PV | 0.1 | 2030 | EN consulting & projects - Kaduna
Nigeria | Solar PV | 1 | 2030 | Kazure (Kano disco)
Nigeria | Solar PV | 1 | 2030 | Regional PV Solar Park in Gwiwa, Jigawa State
Senegal | Solar PV | 0.1 | 2030 | World Bank project
Senegal | Solar PV | 0.04 | 2030 | Scaling Solar
Sierra Leone | Solar PV | 0.005 | 2030 | Heron Energy
Sierra Leone | Solar PV | 0.005 | 2030 | Bo
Togo | Solar PV | 0.03 | 2030 | Dapaong
Togo | Solar PV | 0.02 | 2030 | Blitta
Angola | Wind | 0.1 | 2030 | Wind Plant
Algeria | Wind | 1 | 2035 | Wind Plants
Morocco | Wind | 0.12 | 2030 | Eolien futur
Morocco | Wind | 0.5 | 2030 | Eolien futur
Morocco | Wind | 0.5 | 2030 | Eolien futur
Morocco | Wind | 0.5 | 2030 | Eolien futur
Morocco | Wind | 0.5 | 2030 | Eolien futur
Tunisia | Wind | 0.06 | 2024 | New_Wind_1
Tunisia | Wind | 0.34 | 2025 | New_Wind_2
Tunisia | Wind | 0.1 | 2026 | New_Wind_3
Tunisia | Wind | 0.15 | 2027 | New_Wind_4
Tunisia | Wind | 0.15 | 2028 | New_Wind_5
Tunisia | Wind | 0.15 | 2029 | New_Wind_6
Tunisia | Wind | 0.15 | 2030 | New_Wind_7
Egypt | Wind | 0.25 | 2030 | New Renewables
Egypt | Wind | 0.25 | 2030 | New Renewables
Egypt | Wind | 1.7 | 2030 | New Renewables
Egypt | Wind | 2 | 2030 | New Renewables
Ethiopia | Wind | 0.3 | 2029 | Ayisha Wind II
Ethiopia | Wind | 0.3 | 2027 | Ayisha (?) Wind II
Ethiopia | Wind | 0.24 | 2026 | Aysha I Wind
Ethiopia | Wind | 0.15 | 2025 | Aysha III Wind
Ethiopia | Wind | 0.3 | 2024 | Mega
Ethiopia | Wind | 0.025 | 2026 | Ashegoda
Ethiopia | Wind | 0.15 | 2028 | Atigala
Ethiopia | Wind | 0.15 | 2028 | Mega (?)
Ethiopia | Wind | 0.3 | 2030 | Gode
Kenya | Wind | 0.1 | 2028 | Marsabit Phase I - KenGen
Kenya | Wind | 0.05 | 2030 | Electrawinds Bahari
Kenya | Wind | 0.04 | 2031 | Electrawinds Bahari Phase 2
Kenya | Wind | 0.05 | 2033 | Aperture Green
Kenya | Wind | 0.05 | 2035 | Wind
Kenya | Wind | 0.05 | 2037 | Wind
Kenya | Wind | 0.05 | 2038 | Wind
Kenya | Wind | 0.05 | 2039 | Wind
Kenya | Wind | 0.05 | 2040 | Wind
Kenya | Wind | 0.05 | 2030 | Wind
Sudan | Wind | 0.1 | 2025 | Elgobosh
Sudan | Wind | 0.5 | 2026 | 2nd PP Wind in Dongola
Sudan | Wind | 0.5 | 2027 | 3rd PP Wind in Dongola
Uganda | Wind | 0.02 | 2023 | Rupa Wind Power
Uganda | Wind | 0.02 | 2027 | Senok wind
Angola | Wind | 0.1 | 2030 | Wind Plant
Lesotho | Wind | 0.065 | 2021 | Letseng
Malawi | Wind | 0.03 | 2022 | Wind Plant
Malawi | Wind | 0.015 | 2025 | Wind Plant
Malawi | Wind | 0.045 | 2028 | Wind Plant
Malawi | Wind | 0.03 | 2040 | Wind Plant
Namibia | Wind | 0.05 | 2024 | Rosh Pinah
South Africa | Wind | 1.6 | 2025 | BW6 Wind Projects
South Africa | Wind | 1.6 | 2026 | Wind Projects
South Africa | Wind | 1.6 | 2027 | Wind Projects
South Africa | Wind | 1.6 | 2028 | Wind Projects
South Africa | Wind | 1.6 | 2029 | Wind Projects
South Africa | Wind | 1.6 | 2030 | Wind Projects
Zambia | Wind | 0.202 | 2026 | UNIKA I
Zambia | Wind | 0.13 | 2030 | Pensulo Wind Power Project
Zambia | Wind | 0.15 | 2030 | Chanka
Ghana | Wind | 0.15 | 2030 | ADA
Nigeria | Wind | 0.1 | 2030 | JBS Wind power plant
Committed Electricity Installed Capacity Hydropower (GW) - Global Energy Monitor
Country | Technology | Year | Value | Name | Status
Angola | run-of-river | 2026 | 2.172 | Caculo Cabaça hydroelectric plant | construction
Angola | conventional storage | 2038 | 0.224 | Jamba ia Mina hydroelectric plant | announced
Angola | conventional storage | 2035 | 0.079 | Jamba ia Oma hydroelectric plant | announced
Burkina Faso | conventional storage | 2038 | 0.06 | Noumbiel hydroelectric plant | announced
Cameroon | conventional storage | 2028 | 0.075 | Bini à Warak hydroelectric plant | pre-construction
Cameroon | unknown | 2028 | 1.8 | Grand Eweng hydroelectric plant | pre-construction
Cameroon | conventional storage | 2034 | 0.283 | Kpep hydroelectric plant | pre-construction
Cameroon | unknown | 2034 | 0.072 | Menchum hydroelectric plant | pre-construction
Cameroon | run-of-river | 2025 | 0.42 | Nachtigal hydroelectric plant | operating
Central African Republic | conventional storage | 2034 | 0.18 | Dimoli hydroelectric plant | pre-construction
Côte d'Ivoire | conventional storage | 2024 | 0.112 | Gribo-Popoli hydroelectric plant | operating
Côte d'Ivoire | conventional storage | 2038 | 0.126 | Louga 1 hydroelectric plant | announced
Côte d'Ivoire | conventional storage | 2027 | 0.12 | Louga 2 hydroelectric plant | announced
DR Congo | conventional storage | 2034 | 4.8 | Inga III hydroelectric plant | pre-construction
DR Congo | run-of-river | 2030 | 0.126 | Mambilima I hydroelectric plant | pre-construction
DR Congo | run-of-river | 2030 | 0.202 | Mambilima II hydroelectric plant | pre-construction
DR Congo | run-of-river | 2028 | 0.3 | Mumbotuta CX hydroelectric plant | pre-construction
DR Congo | conventional storage | 2027 | 0.2 | N'Zilo 2 hydroelectric plant | pre-construction
DR Congo | run-of-river | 2027 | 0.146 | Ruzizi III hydroelectric plant | pre-construction
DR Congo | run-of-river | 2034 | 0.288 | Ruzizi IV hydroelectric plant | pre-construction
DR Congo | conventional storage | 2031 | 0.15 | Sombwe hydroelectric plant | construction
Equatorial Guinea | conventional storage | 2026 | 0.2 | Sendje hydroelectric plant | construction
Eswatini | unknown | 2027 | 0.12 | Ngwempisi River hydroelectric plant | announced
Ethiopia | conventional storage | 2034 | 0.22 | Geba 1 hydroelectric plant | pre-construction
Ethiopia | conventional storage | 2034 | 0.165 | Geba 2 hydroelectric plant | pre-construction
Ethiopia | unknown | 2034 | 0.1 | Genale Dawa V hydroelectric plant | pre-construction
Ethiopia | conventional storage | 2034 | 0.256 | Genale Dawa VI hydroelectric plant | pre-construction
Ethiopia | conventional storage | 2031 | 5.7 | Grand Ethiopian Renaissance hydroelectric plant | construction
Ethiopia | conventional storage | 2034 | 0.096 | Halelle Werabesa I hydroelectric plant | pre-construction
Ethiopia | conventional storage | 2034 | 0.326 | Halelle Werabesa II hydroelectric plant | pre-construction
Ethiopia | conventional storage | 2025 | 2.16 | Koysha hydroelectric plant | construction
Gabon | conventional storage | 2034 | 0.411 | Booué hydroelectric plant | pre-construction
Gabon | conventional storage | 2027 | 0.082 | Ngoulmendjim hydroelectric plant | pre-construction
Gabon | conventional storage | 2034 | 0.3 | Tséngue-Leledi hydroelectric plant | pre-construction
Ghana | unknown | 2028 | 0.05 | Awisam hydroelectric plant | pre-construction
Ghana | conventional storage | 2026 | 0.09 | Juale hydroelectric plant | announced
Ghana | conventional storage | 2034 | 0.06 | Pwalugu hydroelectric plant | pre-construction
Ghana | unknown | 2028 | 0.056 | Tanoso hydroelectric plant | pre-construction
Guinea | conventional storage | 2025 | 0.3 | Amaria hydroelectric plant | construction
Guinea | conventional storage | 2034 | 0.09 | Fomi hydroelectric plant | pre-construction
Guinea | conventional storage | 2038 | 0.294 | Koukoutamba hydroelectric plant | announced
Kenya | unknown | 2031 | 0.06 | Arror Multipurpose Dam hydroelectric plant | construction
Kenya | conventional storage | 2031 | 1 | High Grand Falls hydroelectric plant | pre-construction
Kenya | run-of-river | 2034 | 0.09 | Karura hydroelectric plant | pre-construction
Kenya | conventional storage | 2031 | 0.12 | Magwagwa hydroelectric plant | announced
Lesotho | conventional storage | 2029 | 0.08 | Oxbow Polihali hydroelectric plant | pre-construction
Liberia | conventional storage | 2034 | 0.12 | St John River hydroelectric plant | pre-construction
Malawi | run-of-river | 2029 | 0.261 | Fufu hydroelectric plant | announced
Malawi | run-of-river | 2034 | 0.21 | Kholombidzo hydroelectric plant | pre-construction
Malawi | conventional storage | 2030 | 0.358 | Mpatamanga Gorge hydroelectric plant | pre-construction
Malawi | conventional storage | 2034 | 0.18 | Songwe hydroelectric plant | pre-construction
Morocco | pumped storage | 2031 | 0.335 | Abdelmoumen hydroelectric plant | construction
Morocco | pumped storage | 2027 | 0.3 | El Menzel II hydroelectric plant | announced
Morocco | pumped storage | 2029 | 0.3 | Ifahsa hydroelectric plant | announced
Morocco | unknown | 2027 | 0.062 | Imezdilfane hydroelectric plant | announced
Mozambique | unknown | 2032 | 0.3 | Boroma hydroelectric plant | pre-construction
Mozambique | unknown | 2027 | 0.6 | Chemba I hydroelectric plant | pre-construction
Mozambique | unknown | 2027 | 0.4 | Chemba II hydroelectric plant | pre-construction
Mozambique | unknown | 2027 | 0.6 | Lupata hydroelectric plant | pre-construction
Mozambique | unknown | 2034 | 0.12 | Lurio hydroelectric plant | pre-construction
Mozambique | run-of-river | 2031 | 1.5 | Mphanda Nkuwa hydroelectric plant | pre-construction
Mozambique | unknown | 2028 | 0.16 | Pavua hydroelectric plant | announced
Namibia | conventional storage | 2029 | 0.6 | Baynes hydroelectric plant | pre-construction
Nigeria | unknown | 2034 | 0.182 | Bawarku hydroelectric plant | pre-construction
Nigeria | unknown | 2038 | 0.138 | Dasin Hausa hydroelectric plant | announced
Nigeria | unknown | 2038 | 0.092 | Garin Dalli hydroelectric plant | announced
Nigeria | unknown | 2034 | 0.109 | Grand Katsina Ala hydroelectric plant | pre-construction
Nigeria | unknown | 2034 | 0.36 | Gurara II hydroelectric plant | pre-construction
Nigeria | unknown | 2038 | 0.75 | Lokoja hydroelectric plant | announced
Nigeria | conventional storage | 2034 | 1.65 | Makurdi hydroelectric plant | pre-construction
Nigeria | conventional storage | 2034 | 3.05 | Mambilla hydroelectric plant | pre-construction
Nigeria | unknown | 2025 | 0.182 | Mangu hydroelectric plant | construction
Nigeria | unknown | 2034 | 0.136 | Manya hydroelectric plant | pre-construction
Nigeria | unknown | 2038 | 0.7 | Oguma hydroelectric plant | announced
Nigeria | unknown | 2038 | 0.441 | Onitsha hydroelectric plant | announced
Nigeria | unknown | 2034 | 0.22 | River Mada hydroelectric plant | pre-construction
Nigeria | unknown | 2038 | 0.22 | Tede hydroelectric plant | announced
Republic of the Congo | unknown | 2030 | 0.7 | Sounda hydroelectric plant | pre-construction
Senegal | conventional storage | 2026 | 0.128 | Sambangalou hydroelectric plant | construction
Sierra Leone | unknown | 2032 | 0.16 | Bekongor III hydroelectric plant | pre-construction
Sierra Leone | run-of-river | 2028 | 0.084 | Bumbuna II hydroelectric plant | pre-construction
Sierra Leone | conventional storage | 2034 | 0.055 | Bumbuna II Yiben hydroelectric plant | pre-construction
South Africa | pumped storage | 2033 | 1.5 | Tubatse hydroelectric plant | pre-construction
South Sudan | run-of-river | 2035 | 0.89 | Grand Fula hydroelectric plant | pre-construction
Tanzania | conventional storage | 2024 | 2.115 | Julius Nyerere hydroelectric plant | operating
Tanzania | run-of-river | 2028 | 0.088 | Kakono hydroelectric plant | pre-construction
Tanzania | conventional storage | 2028 | 0.3 | Kikonge hydroelectric plant | announced
Tanzania | run-of-river | 2026 | 0.049 | Malagarasi hydroelectric plant | pre-construction
Tanzania | conventional storage | 2034 | 0.358 | Ruhudji hydroelectric plant | pre-construction
Tanzania | unknown | 2029 | 0.222 | Rumakali hydroelectric plant | pre-construction
Tanzania | run-of-river | 2023 | 0.08 | Rusumo hydroelectric plant | operating
Tunisia | pumped storage | 2029 | 0.4 | Tabarka hydroelectric plant | announced
Uganda | run-of-river | 2034 | 0.84 | Ayago hydroelectric plant | pre-construction
Uganda | run-of-river | 2032 | 0.4 | Kiba hydroelectric plant | pre-construction
Uganda | run-of-river | 2038 | 0.048 | Muzizi hydroelectric plant | announced
Uganda | run-of-river | 2032 | 0.392 | Oriang hydroelectric plant | announced
Zambia | run-of-river | 2034 | 2.4 | Batoka Gorge hydroelectric plant | pre-construction
Zambia | run-of-river | 2032 | 0.151 | Kundabwika hydroelectric plant | pre-construction
Zambia | conventional storage | 2034 | 0.163 | Lufubu hydroelectric plant | pre-construction
Zambia | conventional storage | 2030 | 0.106 | Mulembo Lelya hydroelectric plant | pre-construction
Zambia | run-of-river | 2027 | 0.18 | Ngonye Falls hydroelectric plant | pre-construction
Note on E125: Elias Kousoulos: Of service
Note on G820: Elias Kousoulos: under construction i.e. 2031 first year of full operation. preconstruction, 8 years (i.e. 2034). είναι announced, 12 years (i.e. 2038)